## Assumptions
Parameter | Value | Unit | Notes
Cabana Length | 8 | ft | Default footprint
Cabana Width | 8 | ft | Default footprint
Wall Height | 7.5 | ft | Interior height
Exchange Rate (JMD per USD) | 160 | JMD/USD | Adjust to current rate

## Budget_PVC_Tarp
Item | Qty | Unit Cost (USD) | Unit | Subtotal (USD)
PVC pipe (Schedule 40, 1.5 in, 10 ft) | 10 | 12 | sticks
PVC elbows/tees/couplers | 20 | 1.5 | pcs
Heavy-duty tarp roof/walls (12x16 ft) | 2 | 80 | pcs
Bungee cords / ball ties | 30 | 0.6 | pcs
Ground anchors / stakes | 8 | 6 | pcs
Slatted pallet floor (treated) | 2 | 60 | sections
Shower head + valve set (basic) | 1 | 45 | set
Hose line / PEX + fittings | 1 | 40 | lot
Drainage gravel + filter fabric | 1 | 60 | lot
Hooks, bench, curtain | 1 | 40 | lot
Sealant, tape, fasteners, misc. | 1 | 35 | lot
Optional solar shower bag (20L) | 1 | 30 | pc
Contingency (10%)
TOTAL (USD)
TOTAL (JMD)

## Mid_Bamboo_Wood
Item | Qty | Unit Cost (USD) | Unit | Subtotal (USD)
Bamboo poles (treated) OR 2x4x8' treated lumber | 16 | 7.5 | pcs
Cross-bracing / 2x2s / lashings | 12 | 4 | pcs
Stainless or galvanized screws/bolts | 1 | 30 | lot
Heavy-duty tarp/canvas roof (10x12') | 1 | 95 | pc
Waterproof tarp walls (8x20' total) | 1 | 110 | set
Grommet kit / rope / tie-downs | 1 | 25 | set
Ground anchors / augers | 8 | 8 | pcs
Raised wooden slat floor (treated) | 1 | 220 | set
Partition wall + curtain/door | 1 | 70 | set
Shower hardware (quality set) | 1 | 95 | set
PEX piping, shutoff valve, fittings | 1 | 80 | lot
Soakaway pit materials (gravel, pipe, fabric) | 1 | 90 | lot
Solar light (IP65) + hooks | 1 | 35 | set
Towel hooks, bench, shelf | 1 | 55 | set
Sealant, stain/preservative for wood | 1 | 45 | lot
Contingency (10%)
TOTAL (USD)
TOTAL (JMD)

## Premium_Kit
Item | Qty | Unit Cost (USD) | Unit | Subtotal (USD)
Prefabricated outdoor cabana/shower kit | 1 | 2200 | kit
Concrete slab/base or pavers | 1 | 600 | set
Professional plumbing hookup | 1 | 650 | job
Electrical (light, GFCI outlet) | 1 | 350 | job
Contingency (8%)
TOTAL (USD)
TOTAL (JMD)

## Summary
Option | Estimated Range (USD) | Estimated Range (JMD)
Budget PVC/Tarp | $350 – $700
Mid Bamboo/Wood + Tarp | $700 – $1,600
Premium Prefab Kit | $1,800 – $4,000
Notes: | Edit totals on each option sheet; set your live exchange rate in Assumptions (cell B5).